## spectra_metadata
Field | Value | Extra comments
Spectrometer Make/Model | Perten: DA7200, DA7300
Wavelength Range (nm) | 950-1650
Spectral Resolution (nm) | WL accuracy < 0.05 nm, all data provided is 5nm step
Number of Scans per Spectrum | 100 | Typically rotating large cup (up to 108cm2), over a running belt. ~20 spectra/second. Typically 5-10s scantime depending on setup and averaging choices. Note that this is more of subsampling than subscanning (but also reduce noise of course)
Grain Type | Wheat (whole)
Variety | Durum, Wheat, Canadian Hard R | Country dependent
Country | Spain, Sweden, Australia, Canada, US, UK, Norway | The name of the country might correspond to the country where the grain was grown or where the spectral data was acquired.
Year | 2002, 2006, 2007, 2008, 2011, 2014 | Some missing data represented with 0. Order of year does not correspond to order of country
Reference Method Protein | Kjeldahl
Reference Method Moisture | Oven
Units for Protein | % protein (N6_25) | Protein Nitrogen conversion factor varies between commodities and the intended use, could also be different practices around the world. Label regarding constituent in the form (Nx_xx) when available.
Units for Moisture | % moisture
Reference for moisture | Dry Basis | DB For all protein measurement supplied. Mentioned in name of consituent to avoid mixups and confusion
Citation | Perten (for sensAIfood)
Autorship | applications.perten@perkinelmer.com
AUXILIARY METADATA
Detector Type | Diod-Array: 256 pixel thermoelectrically cooled, high-detectivity indium gallium aresenide (InGaAs)
Geometry | diffuse reflectance (post-dispersive)
Optical Reference Material | Teflon coated ceramic reference
Software Used for Acquisition | Perten Software (Results Plus or Process Plus)
Sampling notes | No duplicated in provided data
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Introduce the brand and model of the spectrometer used
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Insert wavelength range in nm (first and last wavelength separated by "-", e.g., 750 - 1100
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Spectral spatial resolution (mean value) in nm of the spectrometer
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Number of scans per recorded spectrum (in average)
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cereal/grain sample name, e.g. wheat
Note on A7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cereal variety, e.g. Renan
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Origin country where the sample comes from (where it was planted)
Note on A9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Harvest year
Note on A10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory Reference method used for measuring the protein, e.g., Kjeldahl
Note on A11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory Reference method used for measuring the Moisture, e.g., Dumas
Note on A12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reference measurement units for protein, e.g. "% protein”
Note on A13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reference measurement units for moisture, e.g. "% wb”
Note on A14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory reference method for moisture measurement. Examples: as-is, dry matter basis, fixed moisture, basis (e.g., 11%, 12%, or 13.5%)
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DOI of paper where the data was analysed, or DOI of data if distributed online. This field will be used to identify the origin of the dataset and to provide links.
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Name of the responsible for the data or origin laboratory, or research group/centre/university or company.
Note on A18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Type of sensor in the spectrometer, e.g. e.g. InGaAs
Note on A19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Geometry of spectral acquisition, e.g. diffuse reflectance, interactance, etc...
Note on A20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Material used for the spectral optical reference, e.g., Spectralon, gold mirror, teflon, etc.
Note on A21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Name and version of the software used for spectra acquisition
Note on A22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please inform about data structure, i.e., duplicated measurements per sample, different batches, etc. This is useful to ensure that data splits will be done properly.